## IQ - Installation
INSTALLATION QUALIFICATION (IQ)
Equipment Name:
Serial Number:
Location:
Item | Requirement | Acceptance Criteria | Result | Pass/Fail | Comments
1 | Equipment received complete
2 | Utilities available (power, air, water)
3 | Environmental conditions acceptable
4 | Equipment installed per specifications
5 | Safety features installed
6 | Documentation received (manuals, certs)
7 | Calibration certificates current
8 | Software/firmware version verified
9 | Spare parts inventory established
10 | Preventive maintenance schedule created

## OQ - Operational
OPERATIONAL QUALIFICATION (OQ)
Equipment Name:
Item | Operating Parameter | Acceptance Criteria | Result | Pass/Fail | Comments
1 | Start-up sequence operates correctly
2 | Shutdown sequence operates correctly
3 | Emergency stop functions
4 | Alarms function as designed
5 | Operating parameters within range
6 | Control systems respond correctly
7 | Interlocks function properly
8 | Process monitoring systems accurate
9 | Data logging functions correctly
10 | Operator interface functions properly

## PQ - Performance
PERFORMANCE QUALIFICATION (PQ)
Equipment Name:
Run # | Process Parameter | Specification | Actual Result | Pass/Fail | Comments
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## Instructions
EQUIPMENT VALIDATION SUITE
IQ (Installation Qualification):
• Verifies equipment is installed correctly
• Checks utilities, documentation, calibration
• Confirms safety features and environmental controls
OQ (Operational Qualification):
• Verifies equipment operates as designed
• Tests all functions, alarms, interlocks
• Confirms operating parameters are within range
PQ (Performance Qualification):
• Demonstrates equipment produces acceptable results
• Typically 3 consecutive successful runs
• Process parameters must meet specifications
TYPICAL WORKFLOW:
1. Complete IQ after equipment installation
2. Complete OQ after IQ passes
3. Complete PQ after OQ passes
4. All three must pass for full validation
IMPORTANT:
• For demonstration only
• DO NOT use for FDA-regulated equipment validation
• Actual validation requires validated protocols and systems
• FDA 21 CFR Part 11 compliance not provided